## Slide 1: TEKNOLOGI MEMBRAN
DR. IR. SUBRIYER NASIR, MS

## Slide 2
Membran : Suatu pemisahan antarfasa yang mengontrol secara selektif transport material antara fasa tersebut (Strathmann).
Membran dibutuhkan dalam :
Pemisahan material padatan halus yang compresible, terdispersi dalam cairan dan mempunyai densitas yang berdekatan dengan fasa liquid, mempunyai viskositas tinggi atau bersifat gelatinous
Pemisahan zat-zat yang mempunyai berat molekul rendah, non volatile organic atau zat-zat “pharmaceutical” dan garam-garam terlarut.
Pemisahan material-material biologi yang sangat sensitif terhadap lingkungan fisik dan kimianya.
Pemisahan suatu produk yang sulit dan mahal bila ditinjau secara ekonomi, berkembang pesat dalam industri bioteknologi dan food technology.

## Slide 8
Proses Filtrasi dengan Membran
1. Cross Flow

## Slide 9
2. Dead-end filtrattion

## Slide 13
Fouling causes | Ways of treatment | 
Suspended solid and particles | Gravity or pressure filters, cartridge filter MF membranes. | 
Colloids | Filtering through sand filters after coagulation/ flocculation process (gravitation and pressure filters) UF membrane. | 
Scaling | Acid addition, anti scaling addition, water softening, temperature change. | 
Metal oxidation | Cleaning with acid, usage of non-corrosive materials | 
Biological Fouling | Disinfection, filtering (dechlorination is needed after chlorine disinfection), UV pretreatment. | 
Organics Fouling | Coagulation and filtering, adsorption by activated carbon, oxidation, MF and UF membranes. | 
Fouling

## Slide 15
Jenis Membran

## Slide 18
Cake Formation

## Slide 19
Concentration Polarization

## Slide 24
Filtrasi Konvensional
Rc = Tahanan Cake
V= Total volume filtrat
ΔP = Pressure drops antara cake dan media filter (Pa)